## Slide 1: PROPERTIES OF MEDICAL PLANTS RELATED TO NIR SPECTROSCOPY
Marija Jakelić, Maja Benković, Tamara Jurina, Ana Jurinjak Tušek, Davor Valinger, Jasenka Gajdoš Kljusurić*
7th World Congress on Healthcare & Technologies
September 26-27, 2016 London, UK

## Slide 2: Medical plants
source of bioactive components
    Water extracts of medicinal plants
    6 widely spread medicinal plant extracts from botanically distinct origins
properties of the plants
    pH & d.m.
    content of polyphenols & AO
    Conductivity & TDS
    NIR spectra

## Slide 3: Medical plants
Mellisa (Melissa officinalis)
Sage (Salvia officinalis)
Lavender (Lavandula)
Garden Thyme (Thymus
serpyllum)
St. John's wort (Hypericum perforatum)
Marigold (Calendula officinalis)

## Slide 4: Polyphenols

## Slide 5
The vast abundance of scientific data on the bioactive, especially polyphenolic fingerprints of different medicinal plants often require difficult and time-demanding pursuits

## Slide 6: Plant material
Medicinal plants
  originating from the north-eastern (Žumberak, Croatia) and coastal regions (Dalmatia) of Croatia
  collected in 2015, dried and supplied by local herbalists
    The homogenicity of samples ensured by the proper sampling and adequate (large) quantity of plant material
  Preparation of medicinal plant extracts
  simulated household preparation conditions,
  a simple, conventional aqueous extraction of medicinal plants was conducted.
  Extraction
    was carried out by pouring V = 100 mL of distilled water heated to T = 80 °C over m = 2 g of ground tea, for t = 30 min
    filtered through a tea strainer

## Slide 7: Properties (1)
pH
  measured by pH meter
Extraction yield
  expressed as the dry matter content of the extracts
  dry matter was determined by a standard AOAC method(AOAC, 1995)
Electrical Conductivity & TDS
  monitored at room temperature using a TDS/conductivity meter
  All measurements were done in triplicate

## Slide 8: Properties (2)
Total phenolic content
  determined following the modified method of Singleton and Rossi
    The values are expressed in mg of Gallic acid equivalents (GAE) per 100 g of fresh mass using Gallic acid standard curve (0–500 mg/L)
Antioxidant capacity as DPPH radical scavenging activity
  spectrophotometric measurements, which were performed by the UV-Vis spectrophotometer
    2,2-diphenyl-1-picrylhydrazil radical (DPPH˙) using the method proposed by Brand-Williams et al.
    Final results are expressed in mmol of TE per 1 g of mass

## Slide 9: Properties (3)
Inhibition time during Briggs-Rauscher reaction
  oscillating reaction is based on the reactions of three colourless solutions that are prepared and mixed as proposed by Cervelati et al.
  total volume of the BR mixture (15 mL).
  BR reaction is potentiometrically monitored using a combined platinum electrode and the inhibition time (IT)
    IT linearly depends on the
    concentration of the added antioxidant
    recalculated oscillation quenching using a standard solution (GA) –> RAC

## Slide 10: DPPH vs BR inhibition time

## Slide 11: NIR measurements
Range: from 904 nm to 1699 nm
  Medicinal plant extracts (V = 1 mL) were dispensed in quartz cuvette and three consecutive runs for every extract were initially recorded across the entire spectral range at 1 nm intervals
    the arithmetic averages of three measurements were computed
    data obtained were used to perform principal component analysis (PCA) and Partial least squares regression (PLS)

## Slide 12: NIR

## Slide 13: Results

## Slide 14: Basic properties
Medical plant | pH | T (°C) | % d.m. | Polyphenols (mg/g) | AO (mmol/g) | BR- AO (mg/g)
St. John's wort | 5.18 | 24.4 | 0.4104 | 33.46 | 0.290 | 152.61
Sage | 6.20 | 24.2 | 0.5344 | 29.81 | 0.228 | 218.34
Lavender | 5.53 | 24.4 | 0.3964 | 15.46 | 0.081 | 320.03
Thyme | 6.61 | 24.2 | 0.4340 | 43.50 | 0.312 | 264.43
Melissa | 6.38 | 24.7 | 0.5021 | 60.46 | 0.445 | 344.51
Marigold | 5.36 | 24.7 | 0.5038 | 14.34 | 0.129 | 128.28

## Slide 15: Conductivity and TDS
Chart: TDS (mg/L)
| St. John's wort | Sage | Lavender | Thyme | Melissa | Marigold
TDS | 318 | 497 | 381 | 486 | 714 | 923
Conductivity | 631 | 925 | 749 | 971 | 1225 | 1823

## Slide 16: NIR spectra
Chart:  (nm)
Chart: 

## Slide 17: PCA
Chart: Biplot (axes D1 and D2: 80.99 %)
| -0.55838423968810735 | 0.19418712383300088 | -0.81607942008156065 | 0.68948038650661847 | 1.7267301017096059 | -1.2359339522795529
 | -1.0498 | 0.19356 | -1.1683 | -0.23655 | 0.46594 | 1.7951
 | 0.17197 | 1.6223 | 1.6204 | -1.2578 | 1.3189 | -0.066838 | 0.026358 | -0.57344
 | 0 | 0.17197
 | 0 | 1.6223
 | 0 | 1.6204
 | 0 | -1.2578
 | 0 | 1.3189
 | 0 | -0.066838
 | 0 | 0.026358
 | 0 | -0.57344

## Slide 18
NIR spectra
Analytical data
modelling
PLS models
(expected analytical parameter)

## Slide 19: Chemometric analysis
PCA
  used for identifying patterns in data and displaying the data in order to highlight similarities and differences
    Its goal is to extract the important information from the data table and to express this information as a set of new orthogonal variables called principal components or factors.
  represents the pattern of similarity of the observations and the variables by displaying them as points in maps
PLSR
  which is a technique that generalizes and combines features from principal component analysis and multiple regression was used to predict and analyze a set of dependent variables from a set of independent variables or predictors.
  Calibration and validation
    conducted for medical plant extract spectra respectively. As the first group of scatter-corrective pre-processing method was used the Standard Normal Variate (SNV) followed by the Savitzky-Golay (SG) polynomial derivative Filter
      data set
        divided into calibration set and validation set.
PLSR model performance was assessed
    R2 ; RMSEC and RMSEP; RPD; RER

## Slide 20: Models
observed component and spectra | Calibration |  | Prediction |  | RPD | RER
 |  | RMSECV |  | RMSEP |  | 
pH | 0,999 | 0,011 | 0,985 | 0,065 | 8,3 | 18,1
TDS (mg/L) | 0,996 | 2,246 | 0,998 | 9,705 | 21,3 | 62,4
Conductivity (µs/cm) | 0,994 | 29,183 | 0,994 | 28,31 | 14,0 | 42,1
Dry matter (%) | 0,999 | 0,001 | 0,995 | 0,004 | 13,7 | 31,9
Polyphenols (mg/g) | 0,999 | 0,175 | 0,990 | 1,577 | 10,5 | 29,2
AO (mmol/g) | 0,949 | 0,027 | 0,959 | 0,024 | 5,0 | 15,1
BR- AO (mg/g) | 0,994 | 6,0831 | 0,993 | 6,836 | 11,9 | 28,0
observed component and spectra | Calibration |  | Prediction |  | RPD | RER
 |  | RMSECV |  | RMSEP |  | 
pH | 0,999 | 0,011 | 0,985 | 0,065 | 8,3 | 18,1
TDS (mg/L) | 0,996 | 2,246 | 0,998 | 9,705 | 21,3 | 62,4
Conductivity (µs/cm) | 0,994 | 29,183 | 0,994 | 28,31 | 14,0 | 42,1
Dry matter (%) | 0,999 | 0,001 | 0,995 | 0,004 | 13,7 | 31,9
Polyphenols (mg/g) | 0,999 | 0,175 | 0,990 | 1,577 | 10,5 | 29,2
AO (mmol/g) | 0,949 | 0,027 | 0,959 | 0,024 | 5,0 | 15,1
BR- AO (mg/g) | 0,994 | 6,0831 | 0,993 | 6,836 | 11,9 | 28,0
Chart: eksperiment, UF (mg GAE/g)
| 5.6651072099960311 | 6.052987128621643 | 10.77688414002691 | 12.252638491661491 | 12.069369020838407 | 9.9077006848632205 | 15.226796876339547 | 13.824111822947 | 7.3150821952719749 | 5.728535173795021 | 8.2198874632199317 | 9.0237997160985195 | 5.7479852749998299 | 5.8982852941013428 | 11.25857038798469 | 11.51827223137694 | 12.506860650883953 | 8.9996394597442944 | 15.141657902956624 | 14.265616878883213 | 6.7183608517770468 | 6.4043324059219744 | 8.4674668584176871 | 8.6054874144130853
model | 4.798 | 7.2839 | 9.3945 | 12.5649 | 13.4092 | 11.0173 | 13.3233 | 12.959 | 7.296 | 6.7191 | 6.4401 | 11.0228 | 7.8074 | 6.6294 | 11.5851 | 9.3754 | 12.5665 | 10.1685 | 13.3862 | 12.7018 | 4.3232 | 8.982 | 8.8418 | 8.9999
eksperiment | 5.6651 | 6.053 | 10.7769 | 12.2526 | 12.0694 | 9.9077 | 15.2268 | 13.8241 | 7.3151 | 5.7285 | 8.2199 | 9.0238 | 5.748 | 5.8983 | 11.2586 | 11.5183 | 12.5069 | 8.9996 | 15.1417 | 14.2656 | 6.7184 | 6.4043 | 8.4675 | 8.6055
Rezultat PCA analize
PLSR
modeli
Parametri PLSR modela

## Slide 21
FAILURE
SUCCESS

## Slide 22
observed component and spectra | Prediction |  | RPD | RER
 |  | RMSEP |  | 
pH | 0,985 | 0,065 | 8,3 | 18,1
TDS (mg/L) | 0,998 | 9,705 | 21,3 | 62,4
Conductivity (µs/cm) | 0,994 | 28,31 | 14,0 | 42,1
Dry matter (%) | 0,995 | 0,004 | 13,7 | 31,9
Polyphenols (mg/g) | 0,990 | 1,577 | 10,5 | 29,2
AO (mmol/g) | 0,959 | 0,024 | 5,0 | 15,1
BR- AO (mg/g) | 0,993 | 6,836 | 11,9 | 28,0
observed component and spectra | Prediction |  | RPD | RER
 |  | RMSEP |  | 
pH | 0,985 | 0,065 | 8,3 | 18,1
TDS (mg/L) | 0,998 | 9,705 | 21,3 | 62,4
Conductivity (µs/cm) | 0,994 | 28,31 | 14,0 | 42,1
Dry matter (%) | 0,995 | 0,004 | 13,7 | 31,9
Polyphenols (mg/g) | 0,990 | 1,577 | 10,5 | 29,2
AO (mmol/g) | 0,959 | 0,024 | 5,0 | 15,1
BR- AO (mg/g) | 0,993 | 6,836 | 11,9 | 28,0
Medical plant | pH | T (°C) | % d.m. | Polyphenols (mg/g) | AO (mmol/g) | BR- AO (mg/g)
St. John's wort | 5.18 | 24.4 | 0.4104 | 33.46 | 0.290 | 152.61
Sage | 6.20 | 24.2 | 0.5344 | 29.81 | 0.228 | 218.34
Lavender | 5.53 | 24.4 | 0.3964 | 15.46 | 0.081 | 320.03
Thyme | 6.61 | 24.2 | 0.4340 | 43.50 | 0.312 | 264.43
Melissa | 6.38 | 24.7 | 0.5021 | 60.46 | 0.445 | 344.51
Marigold | 5.36 | 24.7 | 0.5038 | 14.34 | 0.129 | 128.28
PCA, PLSR
n = 805; m = 25
Chart: Biplot (axes D1 and D2: 80.99 %)
| -0.55838423968810735 | 0.19418712383300088 | -0.81607942008156065 | 0.68948038650661847 | 1.7267301017096059 | -1.2359339522795529
 | -1.0498 | 0.19356 | -1.1683 | -0.23655 | 0.46594 | 1.7951
 | 0.17197 | 1.6223 | 1.6204 | -1.2578 | 1.3189 | -0.066838 | 0.026358 | -0.57344
 | 0 | 0.17197
 | 0 | 1.6223
 | 0 | 1.6204
 | 0 | -1.2578
 | 0 | 1.3189
 | 0 | -0.066838
 | 0 | 0.026358
 | 0 | -0.57344
Chart:  (nm)

## Slide 24: Conclusions
Multivariate tools
  (NIR) spectra vs. analytical parameters
PCA was successful
  PC1 & PC2 > 80 %
  correlations
PLSR models were successful
    R2 > 0.95
    Majority, RPD > 8
    Majority, RER > 15
  obtained results confirmed that NIR spectroscopy coupled with multivariate analysis is a promising technique for rapid and environmentally friendly measurements allowing good calibration, validation and possible prediction of the observed parameters

## Slide 25: PROPERTIES OF MEDICAL PLANTS RELATED TO NIR SPECTROSCOPY Marija Jakelić, Maja Benković, Tamara Jurina, Ana Jurinjak Tušek, Davor Valinger, Jasenka Gajdoš Kljusurić*
Acknowledgements
This presentation is a contribution to the project „Application of microreactors in the analysis of antioxidant activity of medicinal plants: MICRO-AA“, (HR.3.2.01-0069)
  funded by the European Social Fund (ESF) through the Human Resources Development program
7th World Congress on Healthcare & Technologies
September 26-27, 2016 London, UK